## Sheet1
3σ Break Test Calculator
1 | Carabiner, Major Axis, Gate Closed (Example)
| Test Date: | Test #: | Serial #: | Test Value: | Manufacturer's Stated Rating:
| 2019-08-27 | 1 | 1000 | 24.26 | 24kN | -0.366 | 0.13396
|  | 2 | 2000 | 24.72 |  | 0.094 | 0.008836
| Tested By: | 3 | 2500 | 24.6 | Item Tested: | -0.026 | 0.000676
| JR | 4 | 3000 | 24.8 | Carabiner, Screwlock | 0.174 | 0.030276
|  | 5 | 4000 | 24.75 |  | 0.124 | 0.015376
[6 empty] | 24.626 | 0.037824 | 0.58345
|  | ***3σ Low Rating: |  | 24.0425 |  |  | variance | 3sigma
*** It is 99.73% probable that additional breaks will occur at or above this rating.
Five individual tests required for this calculator.
2 | Carabiner, Major Axis, Gate Opened
| Test Date: | Test #: | Serial #: | Test Value: | Manufacturer's Stated Rating:
|  | 1 |  | 0 |  | 0 | 0
|  | 2 |  | 0 |  | 0 | 0
| Tested By: | 3 |  | 0 | Item Tested: | 0 | 0
|  | 4 |  | 0 |  | 0 | 0
|  | 5 |  | 0 |  | 0 | 0
[6 empty] | 0 | 0 | 0
|  | ***3σ Low Rating: |  | 0
*** It is 99.73% probable that additional breaks will occur at or above this rating.
Five individual tests required for this calculator.
3 | Insert Test Name Here
| Test Date: | Test #: | Serial #: | Test Value: | Manufacturer's Stated Rating:
|  | 1 |  | 0 |  | 0 | 0
|  | 2 |  | 0 |  | 0 | 0
| Tested By: | 3 |  | 0 | Item Tested: | 0 | 0
|  | 4 |  | 0 |  | 0 | 0
|  | 5 |  | 0 |  | 0 | 0
[6 empty] | 0 | 0 | 0
|  | ***3σ Low Rating: |  | 0
*** It is 99.73% probable that additional breaks will occur at or above this rating.
Five individual tests required for this calculator.
www.randallsadventure.com